THE EXPLAIN OF USING & GURANTEE

Automatic Voltage Regulator

(3 PHASE AVR)

SAMSUNG POWER SYSTEM CO.,LTD

MAIN OFFICE & FACTORY	:	WOONAM BLDG. #290, GUNG-DONG,
		GURO-GU, SEOUL. KOREA
A/S MAIN OFFICE	:	82-2- 2615-8831
MARKETING DEPARTMENT	:	82-32- 653-8891~2

A.V.R 1.	SAMSUNG POWER SYSTEM

TITLE

(1) THE NAME OF ALL SECTION

(2) CONCEPTION

(3) THE STRUCTURE OF OUTSIDE

(4) USING METHOD

(5) THE CAREFUL METHOD OF USING

(6) GURANTEE

A.V.R 2.	SAMSUNG POWER SYSTEM

(1) THE NAME OF ALL SECTION

1. 1 PHASE 1 KVA BELOW

-FRONT FACE-                            -BEHIND FACE-

2. 1 PHASE 2 KVA , 3 KVA

NO	SUPPORT EQUIPMENT	NO	SUPPORT EQUIPMENT	NO	SUPPORT EQUIPMENT
(1)	ON	(4)	OUT PUT LAMP	(7)	OUT PUT META
(2)	OFF	(5)	CODE-LINE	(8)	RUBBER FOOT
(3)	INPUT LAMP	(6)	CONSENT

-2KVA(FRONT FACE)  3KVA(FRONT FACE)   -BEHIND FACE

NO	SUPPORT EQUIPMENT	NO	SUPPORT EQUIPMENT
1	OUT PUT LAMP	6	OUT PUT VOLTAGE TERMINAL
2	OUT PUT VOLTAGE META	7	BAKEU (3 KVA) RUBBER FOOT (2 KVA)
3	ON	8	GROUNDING
4	OFF	9	OUT PUT CURRENT META
5	INPUT VOLTAGE TERMINAL

A.V.R 3.	SAMSUNG POWER SYSTEM

3. 1 PHASE 5 KVA OVER

FRONT FACE                    BEHIND FACE

NO	SUPPORT EQUIPMENT	NO	SUPPORT EQUIPMENT
1	INPUT LAMP	7	CUTPUT SWITCH
2	OUTPUT LAMP	8	INPUT VOLTAGE TERMINAL
3	OUTPUT VOLTAGE	9	INPUT VOLTAGE TERMINAL
4	CUTPUT CURRENT	10	GROUNDING TERMINAL
5	ON	11	TRAVELING WHEEL
6	OFF

NO	SUPPORT EQUIPMENT
1	INPUT LAMP
2	OUTPUT LAMP
3	INPUT VOLTAGE META
4	OUTPUT VOLTAGE META
5	OUTPUT CURRNT META
6	ON
7	OFF
8	OUTPUT DELICASY CONTROL
9	OUTPUT SWITCH
10	INPUT VOLTAGE TERMINAL
11	OUTPUT VOLTAGE TERMINAL
12	GROUNDING TERMINAL
13	TRAVELING WHELL

4. 1 PHASE 7.5KVA OVER

A.V.R 4.	SAMSUNG POWER SYSTEM

5. 3 PHASE AVR

N0	SUPPORT EQUIPMENT	NO	SUPPORT EQUIPMENT
1	AVR LAMP	10	OUTPUT CURRENT EVERY PHASE S/W
2	BYPASS LAMP	11	MAIN POWER SWITCH
3	INPUT VOLTAGE META	12	INPUT VOLTAGE TERMINAL
4	OUTPUT VOLTAGE META	13	OUTPUT VOLTAGE TERMINAL
5	OUTPUT VOLTAGE META	14	GROUNDING TERMINAL
6	AVR ON BUTTON	15	TRAVELING WHEEL
7	BYPASS ON BUTTON	16	DO NOT (EMPTY)
8	INPUT VOLTAGE EVERY PHASE SWITCH	17	DO NOT (EMPTY)
9	OUTPUT VOLTAGE EVERY PHASE S/W	18	EVERY PHASE VOLTAGE CONTROL

A.V.R 5.	SAMSUNG POWER SYSTEM

(2) CONCEPTION

THIS EQUIPMENT MANUFACTURE OF TL DETECTION CIRCUIT ELECTRONIC           AUTO VOLTAGE REGULATOR SO SUPPLY OF SECURITY POWER SOURCE TO         COMMUNICATION EQUIPMENT AND EXTRA COMPUTER MAIN EQUIPMENT HAVE       A CHARACTER OF BELOW.

1. ELECTRONIC PATTERN SO LITTLE OF OUT OF ORDER RATES.

2. REANSWER RATE VERY GOOD.

3. REACTION SPEED IS FAST.

4. NO CHARGING PATTERN SO WHENEVER CHARGING ON-OFF, VOISES OR               HIGH WAVES NOT INFLUENCE SO APPRECIATE OF POWER SOURCE.

5. LIFE IS HALF-FOREVER.

(3) THE STRUCTURE OF OUTSIDE

USING OF PRESS STRONG STEAL CUBICLE INDEPENDENCE PATTERN, SO OUT       SPACE MANUFACTURED OF ALL MACHINERY, IN LOCATED OF INDOOR ;             CONCEPT OF DRYING EFFIENCY AND LOCATED OF FRONT PANEL SO NEEDING       SECTION.

(4) USING METHOD

1. CARRYING AND LOCATION

1) CHECKING OF UP & DOWN SPACE SO CARRTING, BE CAREFUL OF                    STRONG STRESS SO FRONT META OR IN LIFE PART POSSIBLE OF                    FAILURE.

2) THIS EQUIPMENT MUST LOCATED;ALL LITTLE OF DAMP, GOOD                       CONNECT OF WIND, AND THE DEPTH DRYING.

* CAREFUL : CURRENT LINE MUST SEPERATE OF 0.5 M-1M OVER.

A.V.R 6.	SAMSUNG POWER SYSTEM

2. ACTING ORDER

1) INPUT TERMINAL AND CODE LINE CONNECT OF POWER SUPPLY, AFTER             CHECKING OF INPUT VOLTAGE, AND CHECKING OF EQUIPMENT NAME                BOARD APPROACH OF INPUT-EXPRESSION VOLTAGE(+-15%)  AFTER INPUT           SWITCH ON, SO OUT PUT VOLTAGE META STARTING OF ACTION.

2) CHECKING OF VOLYAGE META,S OUTPUT VOLTAGE SO NORMAL VOLTAGE.

3) THE CHECKING OF SUPPLY NORMAL OUTPUT VOLTAGE AND NONACCIDENT          SO ACTING OF LOAD,S EQUIPMENT.

4) ACTING OF LOAD,S SECTING  CHECKING OF CURRENT META SO                      UNDERSTAND OF CURRENT USING CAPACITY. (1PHASE 3 KVA )

(5) THE  CAREFUL METHOD OF USING

1. THIS EQUIPMENT ELECTRIC MACHINE SO MUST NOT LOCATED OF MOISTURE        PLACE OR ORGANIC MATTER METHOD PLACE, BUT, LOCATED OUT OF SHEER      NECESSITY QUESTION OF SAMPONG POWER TECH COMPANY, CONSIDERATION      OF YOUR COMPANY'S TECHNCAL MAN'S STUDY OR LOCATED  PATTERN,          SO SPECIAL MANUFACTURED LOCATED.

2. THIS EQUIPMENT AUTO VOLTAGE REGULATOR SO ; WHEN INPUT SECTION IN       TERM OF USING META PERIOD SO SUPPLY OF VOLTAGE AS A RESULT OF OUT      SECTION HAVE A NORMAL VOLAGE, BUT INPUT SECTION OVER NORMAL            VOLTAGE SUPPLY QUESTION OF SAMPOONG POWER SOURGE COMPANY,            TRANSLATION OF ADMISSION OF  INPUT VOLTAGE TAP.

3. OVER USING OF EQUIPMENT SO THIS STANDARDS CAPACITY, QUESTION OF          MANUFACTURED COMPANY, SO FITTING ACTION.

A.V.R 7.	SAMSUNG POWER SYSTEM

(6)GURANTEE

					SPSYS
THE GURANTEE OF ITEM,S QUALITY
	ITEM,S NAME			AUTO VOLTAGE REGULATOR				PURCHASE DAY
	MODEL NAME							. . .
	MANUFACTURE NO			TITLE
	PURCH- ASER	NAME		TELEPHONE;
		ADDRESS		TELEPHONE;
	SELL- ING CO.	SELLING CO.
		ADDRESS
	※ BEYOND LIST DELICASY MEMO.
	YEAR MONTH DAY		REPAIR METHOD			REPAIR PLACE			CHECKING
	THANK YOU PURCHASE OF SAMPOONG POWER SOURE,S MANUFACTURE. THIS ITEM PASSED OF TIGHTY QUALITY TESTING AND CHECKING, IF USING, SO OUT OF ORDER CONTAIN OF GURANTEE, AND CALLING TO ; MAIN OFFICE OF SELLING OFFICE.

A.V.R 8.	SAMSUNG POWER SYSTEM

			SPSYS
	INTROUCE OF AFTER SERVICE 1. USING OF THIS ITEM, CHECK OF UNORMAL. TELEPHONE OF SELLING OFICE OR MAIN OFFICE QUICKLY SERVICE TO YOU. 2. NO CHARGE GURQNTEE, NO RECEIVE OF REPAIR CHARGE OR EQUIPMENT CHARGE. BUT CHARGE GURANTEE, ALMOST EQUIPMENT CHARGE AND TECHNICAL SERVICE CHARGE RECEIVED SO THE BEST OF PURCHASE MAN'S CONVENIENCE. THE LAW OF ITEM'S GURANTEE 1. NO CHARGE GURANTEE AFTER PURCHASE ITEM 12 MONTH NO CHARGE GURANTEE PERIODWITH HAPPEN OUT OF ORDER BELOW; NO CHARGE REPAIRED SO PURCHASE OF THIS ITEM OR AGENCY. ● ESTABLISHMENT OF ITEM, OUT OF ORDER HAPPEN. ● NORMAL USING HAPPEN TO OUT OF ORDER. 2. CHARGE GURANTEE AFTER ESTABLISHMENT OF ITEM, SO FAILURE OF BELOW; RECEIVE OF REPAIR CHARGE AND EQUIPMENT CHARGE. ● OUT OF ORDER SO USING MAN'S CAREFULESS. ● GET AWAY OF NO CHARGE GURANTEE PERIOD. ● OUT OF ORDER SO A NATURE DISASTER. SAMPOONG POWER SYSTEM MAIN OFFICE & FACTORY : WOONAM BLDG. #290, GUNG-DONG, GURO-GU, SEOUL. KOREA A/S MAIN OFFICE : (02) 2615-8831 MARKETING DEPARTMENT : (032) 653-8891~2

			SPSYS
	INTROUCE OF AFTER SERVICE 1. USING OF THIS ITEM, CHECK OF UNORMAL. TELEPHONE OF SELLING OFICE OR MAIN OFFICE QUICKLY SERVICE TO YOU. 2. NO CHARGE GURQNTEE, NO RECEIVE OF REPAIR CHARGE OR EQUIPMENT CHARGE. BUT CHARGE GURANTEE, ALMOST EQUIPMENT CHARGE AND TECHNICAL SERVICE CHARGE RECEIVED SO THE BEST OF PURCHASE MAN'S CONVENIENCE. THE LAW OF ITEM'S GURANTEE 1. NO CHARGE GURANTEE AFTER PURCHASE ITEM 12 MONTH NO CHARGE GURANTEE PERIODWITH HAPPEN OUT OF ORDER BELOW; NO CHARGE REPAIRED SO PURCHASE OF THIS ITEM OR AGENCY. ● ESTABLISHMENT OF ITEM, OUT OF ORDER HAPPEN. ● NORMAL USING HAPPEN TO OUT OF ORDER. 2. CHARGE GURANTEE AFTER ESTABLISHMENT OF ITEM, SO FAILURE OF BELOW; RECEIVE OF REPAIR CHARGE AND EQUIPMENT CHARGE. ● OUT OF ORDER SO USING MAN'S CAREFULESS. ● GET AWAY OF NO CHARGE GURANTEE PERIOD. ● OUT OF ORDER SO A NATURE DISASTER. SAMSUNG POWER SYSTEM CO.,LTD MAIN OFFICE & FACTORY : WOONAM BLDG. #290, GUNG-DONG, GURO-GU, SEOUL. KOREA A/S MAIN OFFICE : (02) 2615-8831 MARKETING DEPARTMENT : (032) 653-8891~2